Readme information for the FY-3H/MWHS-II

Spectral Response Function (SRF) Dataset for public release

Throughout this readme, the reader is assumed to have basic familiarity with MWHS and microwave radiometer design. The FY-3H/MWHS-II Spectral Response Functions (SRFs) provide 3-dB bandwidth, center frequency（Hz）, and exact bandpass shape. The data is arranged in different excel file with different symbols(see Table 1). Starting from line 2, there are 4 columns for all channels: lower band RF frequency（Hz）, magnitude (dBm), Upper band RF frequency（Hz） and magnitude (dBm).

Table 1 Channel characteristics of MWHS-II sensor

| No. | Center frequency（GHz） | symbol |
| --- | --- | --- |
| 1 | 89.0 | “Channel-1” |
| 2 | 118.750.08 | “Channel-2” |
| 3 | 118.750.2 | “Channel-3” |
| 4 | 118.750.3 | “Channel-4” |
| 5 | 118.750.8 | “Channel-5” |
| 6 | 118.751.1 | “Channel-6” |
| 7 | 118.752.5 | “Channel-7” |
| 8 | 118.753.0 | “Channel-8” |
| 9 | 118.755.0 | “Channel-9” |
| 10 | 166.0 | “Channel-10” |
| 11 | 183.31±1 | “Channel-11” |
| 12 | 183.31±1.8 | “Channel-12” |
| 13 | 183.31±3 | “Channel-13” |
| 14 | 183.31±4.5 | “Channel-14” |
| 15 | 183.31±7 | “Channel-15” |