Readme information for the FY-3H/MWTS-III

Spectral Response Function (SRF) Dataset for public release

Throughout this readme, the reader is assumed to have basic familiarity with MWTS and microwave radiometer design. The FY-3H/MWTS-III Spectral Response Functions (SRFs) provide the measured magnitude of every frequency. The data is arranged in different excel file with different symbols (see Table 1). Starting from line 2 and column 2, there are 2 columns for 17 channels: RF frequency (Hz), magnitude (dB).

Table 1 Channel characteristics of MWTS-III sensor

| No. | Center frequency（GHz） | symbol |
| --- | --- | --- |
| 1 | 23.8 | TD1-H |
| 2 | 31.4 | TD2-H |
| 3 | 50.3 | TD3-H |
| 4 | 51.76 | TD4-H |
| 5 | 52.8 | TD5-H |
| 6 | 53.246±0.08 | TD6-H |
| 7 | 53.596±0.115 | TD7-H |
| 8 | 53.948±0.081 | TD8-H |
| 9 | 54.40 | TD9-H |
| 10 | 54.94 | TD10-H |
| 11 | 55.50 | TD11-H |
| 12 | 57.290344(fo) | TD12-H |
| 13 | fo±0.217 | TD13-H |
| 14 | fo±0.3222±0.048 | TD14-H |
| 15 | fo±0.3222±0.022 | TD15-H |
| 16 | fo±0.3222±0.010 | TD16-H |
| 17 | fo±0.3222±0.0045 | TD17-H |